| E72A ELECTRICAL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | # Automatic Transfer Switch |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Tag No. |  |  |  |  |  |  |  |  |  |  |  | Pack No. |  |  |  |  |  |  |  |  |  |  |  |
| System No. |  |  |  |  |  |  |  |  |  |  |  | Subsystem No. |  |  |  |  |  |  |  |  |  |  |  |
| Location |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Description |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Drawing Reference / Rev. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Manufacturer |  |  |  |  |  |  |  | Model No |  |  |  |  |  |  | Serial No |  |  |  |  |  |  |  |  |
| System Voltage |  |  |  |  |  |  |  | Control Voltage |  |  |  |  |  |  | Vax Voltage |  |  |  |  |  |  |  |  |
| Amperage |  |  |  |  |  |  |  | Interrupt Rating |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| No. | Items to be Checked |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | OK |  |  | N/A |  | Punch List |
| 1 | Compare nameplate data with drawings and specifications |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Inspect anchorage, alignment, grounding, and required |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Verify / Utilized correct app. of manufacturer’s recommended |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | Verify that manual transfer warnings are attached and visible |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | Verify tightness of all control connections |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | Install all bolted electrical connections for high resistance using one or more of the following methods: Ohm meter low resistance _______________________ Torque _______________________ |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 | Perform manual transfer operation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | Verify positive mechanical interlocking between normal and alternative sources |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 | Clean unit prior to testing unless as-found and as-left test are required |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| _______ kV DC |  |  | Insulation Resistance Test in M |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | A-G |  |  | B-G |  | C-G | A-B |  | A-C |  | B-C |  | A-N |  | B-N |  |  | C-N |  | N-G |  |
| Normal |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Emergency |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Comments / Remarks: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Completed By |  |  |  |  | Accepted By |  |  | Approved By |  |  |  | Revision Comments: First issue at rev 6. |  |  |  |  |  |  |  |  |  |
| Print Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Company: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Signature: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |